## LIVD Publication
Publisher | bioMérieux
Document Identifier | BFR0001-2374
Publication date | November 2024
Publisher URL | https://www.biofiredx.com/support/documents/#toggle-id-4
Publisher Statement | bioMerieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BIOFIRE® Blood Culture Identification 2 (BCID2) Panel is a multiplexed nucleic acid test intended for use with BIOFIRE® FILMARRAY® 2.0 or BIOFIRE® FILMARRAY® Torch Systems for the simultaneous qualitative detection and identification of multiple bacterial and yeast nucleic acids and select genetic determinants associated with antimicrobial resistance.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2024, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
BFR0001-2374-01 Release Notes | This is the first release of LOINC® codes for the BioFire® Blood Culture Identification 2 (BCID2) Panel v1.0.
BFR0001-2374-02 Release Notes | This is the second release of LOINC® codes for the BioFire® Blood Culture Identification 2 (BCID2) Panel v1.0. This release adds LOINC® codification of the Acinetobacter calcoaceticus-baumannii complex target, which was not included in the initial release. It also updates the copyright statement to reflect the current year of 2021.
BFR0001-2374-03 Release Notes | This is the third release of LOINC® codes for the BioFire® Blood Culture Identification 2 (BCID2) Panel v1.0. This release includes: • update to new LIVD format • added 'Equipment UID' and 'Equipment UID Type' for FilmArray 2.0 and FilmArray Torch • updated 'Publication Version ID' • added 'Vendor Analyte Code' for the BCID2 panel code • updated 'Vendor Analyte Name' for the BCID2 panel code • updated 'Vendor Result Description' to include possible results for each analyte • corrected spelling error in 'Vendor Analyte Name' for Streptococcus pneumoniae • added 'TestKit UID' and 'TestKit UID Type' • added 'LOINC ID Version' for each analyte*
BFR0001-2374-04 Release Notes | This is the fourth release of LOINC® codes for the BioFire® Blood Culture Identification 2 (BCID2) Panel v1.0. This release includes: • removed incorrect space in Component name of 62261-3

## LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BCID2 | BioFire Blood Culture Identification 2 (BCID2) Panel - IVD | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  | See UID Tab | GTIN |  | 85762-3 | Blood pathogens panel by NAA with non-probe detection in Positive blood culture | Blood pathogens panel | - | Pt | Bld.pos growth | - | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06001 | Acinetobacter calcoaceticus-baumannii complex | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 97050-9 | Acinetobacter calcoaceticus-baumannii complex DNA [Presence] by NAA with non-probe detection in Positive blood culture | Acinetobacter calcoaceticus-baumannii complex DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.70
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06002 | Bacteroides fragilis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96301-7 | Bacteroides fragilis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Bacteroides fragilis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07001 | Candida albicans | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85781-3 | Candida albicans DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida albicans DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07002 | Candida auris | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96302-5 | Candida auris DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida auris DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07003 | Candida glabrata | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85782-1 | Candida glabrata DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida glabrata DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07004 | Candida krusei | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85783-9 | Candida krusei DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida krusei DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07005 | Candida parapsilosis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85784-7 | Candida parapsilosis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida parapsilosis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07006 | Candida tropicalis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85785-4 | Candida tropicalis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida tropicalis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x07007 | Cryptococcus neoformans/gattii | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96303-3 | Cryptococcus gattii+neoformans DNA [Presence] by NAA with non-probe detection in Positive blood culture | Cryptococcus gattii+neoformans DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08001 | CTX-M | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 88250-6 | Cephalosporin resistance blaCTX-M gene [Presence] by Molecular method | Bacterial cephalosporin resistance blaCTX-M gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06004 | Enterobacter cloacae complex | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85772-2 | Enterobacter cloacae complex DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterobacter cloacae complex DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06003 | Enterobacterales | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96306-6 | Enterobacterales DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterobacterales DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05001 | Enterococcus faecalis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96304-1 | Enterococcus faecalis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterococcus faecalis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05002 | Enterococcus faecium | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96305-8 | Enterococcus faecium DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterococcus faecium DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06005 | Escherichia coli | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85773-0 | Escherichia coli DNA [Presence] by NAA with non-probe detection in Positive blood culture | Escherichia coli DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06012 | Haemophilus influenzae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85778-9 | Haemophilus influenzae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Haemophilus influenzae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08002 | IMP | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 85498-4 | Carbapenem resistance blaIMP gene [Presence] by Molecular method | Bacterial carbapenem resistance blaIMP gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06006 | Klebsiella aerogenes | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96308-2 | Klebsiella aerogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella aerogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06007 | Klebsiella oxytoca | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85774-8 | Klebsiella oxytoca DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella oxytoca DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06008 | Klebsiella pneumoniae group | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96307-4 | Klebsiella pneumoniae+Klebsiella variicola+Klebsiella quasipneumoniae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella pneumoniae+Klebsiella variicola+Klebsiella quasipneumoniae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08003 | KPC | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 49617-4 | Carbapenem resistance blaKPC gene [Presence] by Molecular method | Bacterial carbapenem resistance blaKPC gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05003 | Listeria monocytogenes | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85763-1 | Listeria monocytogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Listeria monocytogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08004 | mcr-1 | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 86221-9 | Colistin resistance mcr-1 gene [Presence] by Molecular method | Bacterial colistin resistance mcr-1 gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.65
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08005 | mecA/C | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 92968-7 | Methicillin resistance mecA+mecC genes [Presence] in Isolate or Specimen by Molecular genetics method | Bacterial methicillin resistance mecA+mecC genes | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.66
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08006 | mecA/C and MREJ (MRSA) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 96309-0 | Methicillin resistance mecA+mecC genes+SCCmec+OrfX junction [Presence] by Molecular method | Bacterial methicillin resistance mecA+mecC genes+SCCmec+OrfX junction | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08007 | NDM | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 73982-1 | Carbapenem resistance blaNDM gene [Presence] by Molecular method | Bacterial carbapenem resistance blaNDM gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06013 | Neisseria meningitidis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85779-7 | Neisseria meningitidis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Neisseria meningitidis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08008 | OXA-48-like | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 85827-4 | Carbapenem resistance bla OXA-48-like gene [Presence] by Molecular method | Bacterial carbapenem resistance blaOXA-48-like gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.67
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06009 | Proteus spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85776-3 | Proteus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Proteus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06014 | Pseudomonas aeruginosa | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85780-5 | Pseudomonas aeruginosa DNA [Presence] by NAA with non-probe detection in Positive blood culture | Pseudomonas aeruginosa DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06010 | Salmonella spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96313-2 | Salmonella sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Salmonella sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06011 | Serratia marcescens | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85777-1 | Serratia marcescens DNA [Presence] by NAA with non-probe detection in Positive blood culture | Serratia marcescens DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05004 | Staphylococcus spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85764-9 | Staphylococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05005 | Staphylococcus aureus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85765-6 | Staphylococcus aureus DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus aureus DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05006 | Staphylococcus epidermidis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96310-8 | Staphylococcus epidermidis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus epidermidis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05007 | Staphylococcus lugdunensis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96311-6 | Staphylococcus lugdunensis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus lugdunensis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x06015 | Stenotrophomonas maltophilia | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 96312-4 | Stenotrophomonas maltophilia DNA [Presence] by NAA with non-probe detection in Positive blood culture | Stenotrophomonas maltophilia DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.69
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05008 | Streptococcus spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85766-4 | Streptococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05009 | Streptococcus agalactiae (Group B) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85767-2 | Streptococcus agalactiae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus agalactiae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05010 | Streptococcus pneumoniae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85768-0 | Streptococcus pneumoniae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus pneumoniae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x05011 | Streptococcus pyogenes (Group A) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 85769-8 | Streptococcus pyogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus pyogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08009 | vanA/B | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 62261-3 | Vancomycin resistance vanA +​ vanB genes [Presence] by Molecular method | Bacterial vancomycin resistance vanA+vanB genes | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 03 | BC2x08010 | VIM | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  | See UID Tab | GTIN |  | 85501-5 | Carbapenem resistance blaVIM gene [Presence] by Molecular method | Bacterial carbapenem resistance blaVIM gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen | 2.73

## UID
Model | Equipment UID
FILMARRAY 2.0 INSTRUMENT | 00815381020031
FILMARRAY 2.0 INSTRUMENT (W) | 00815381029058
FILMARRAY TORCH SYSTEM BASE | 00815381020253
FILMARRAY TORCH SYSTEM BASE (W) | 00815381029096
FILMARRAY TORCH INSTRUMENT MODULE | 00815381020277
FILMARRAY TORCH MODULE BOX (W) | 00815381029089
Panel | Testkit UID
BIOFIRE BCID2 PANEL, 30 TESTS | 00815381020338